## Legend
#VALUE!
LIST OF INNOVATION
System
Patient area Blood circulation patient - HD machine Loops A | Loops A
Patient area HD machine | HD machine
Patient area circ. RO water & additives to HD machine Loops B | Loops B
Utility area circulation loops (Ro + additives) Loops C | Loops C
Utility area ultra pure water production (RO unit) Unit A | Unit A
Utility area Acid concentrate I from powder Unit B | Unit B
Utility area Acid concentrate II from powder Unit C | Unit C
Utility area (future) bicarbonate solution from powder Unit D | Unit D
Utility area (future) spent dialysate recycling Unit E | Unit E
Utility area (future) spent RO water recycling Unit F | Unit F
Dialysis at home | Home
Strategically located satelite dialysis units to reduce overall transport | Microclinic
Operational practices for Patient Care | OPER CARE
Operational practices for other Care related matters | OPER OTHER
Hospital Building Interior finishing | BLD INT FIN
Hospital Building Technical Installations | BLD HVAC
Hosptial building Other systems | BLD OTHER
Dialysis System

## Innovations Matrix
CATEGORY | NO. | INNOVATION | DESCRIPTION OF INNOVATION | KITNEWCARE PATHWAY | HD/PD | SETTING | PATIENT GROUP | PRIMARY IMPACT | SECONDARY IMPACT | SYSTEM | TRL | REFERENCE | INSTITUTE/VENDOR | ORIGINAL MATRIX POSITION
Dialysis Installation | 1 | Adjusting dialysis fluid flow to blood flow | This is a feature of Fresenius 5008 and 6008 series HD machines and it is expected that this feature will be implemented in the next generation of HD machine. It will enable optimisation of dialysate consumption | CT KRT HD | HD | In centre and home dialysis | ESKF | Water |  | HD machine | 9 | Abstract https://doi.org/10.1093/ndt/gfy104.SP491 |  | 0
Dialysis Installation | 2 | RO Water reclaim | Re-injection of RO reject Water and surplus permeate in the feed Water | CT KRT HD | HD | In centre and home dialysis | ESKF | Water |  | Unit F | 9 | https://networks.sustainablehealthcare.org.uk/resources/conserving-Water-haemodialysis |  | 1
Dialysis Installation | 3 | Upgrade of Water treatment system | Next generation RO plant fully automated and with far less reject Water | CT KRT HD | HD | In centre | ESKF | Water |  | Unit A | 9 | https://networks.sustainablehealthcare.org.uk/resources/upgrade-Water-treatment-systems-dialysis-unit |  | 2
Dialysis Installation | 4 | Reuse of RO reject Water | Store eccess RO Water for use in other 'grey Water' systems. Unit F defined to deal with storage and pre treatment (if so required) of RO reject Water prior to second use (recycling). | CT KRT HD | HD | In centre, satelite and home dialysis | ESKF | Water |  | Unit F | 7-9 | DOI: 10.1111/j.1542-4758.2009.00332.x |  | 3
Dialysis Installation | 7 | Use of forward osmosis membranes (Aquaporin) to a) produce dialysate from tap Water, and b) regenerate dialysate (within session) | Testing required to validate aquaporin's technology for this medical application | CT KRT HD | HD | In centre | ESKF | Water | Energy | Unit A Unit E | 4-5 | https://www.filtsep.com/content/news/aquaporin-membranes-cut-hemodialysis-Water-costs https://doi.org/10.1016/j.desal.2020.114605 https://doi.org/10.1016/j.watres.2019.115157 |  | 4
Dialysis Installation | 8 | Central acid delivery | Central unit providing acid concentrate to HD machines instead of 1 canister per session | CT KRT HD | HD | In centre | ESKF | Waste |  | Unit B Unit C | 9 | https://networks.sustainablehealthcare.org.uk/resources/central-delivery-acid-haemodialysis https://doi.org/10.1007/s40620-024-02073-9 |  | 5
Dialysis Installation | 9 | Central bicarbonate delivery | In between 1990 and 2000 a central bicarbonate solution system has been used in the St. Luc hosptial in Brussels. Meanwhile single us bicarbonate cartridges connected to HD machine have become the environmentally less friendly common practice. Based on Mr. Stragiers publications a central (automated) bicarbonate solution dosing and distribution system has to be reconfirmed thruogh testing; followed by piloting. | CT KRT HD | IC HD | In centre | ESKF | Waste |  | Unit D | 4-6 | 1. STRAGIER Andre, SYNAVE B. - Bicarbonate concentrate : no longer contaminated. EDTNA-ERCA Journal 11, 1989, 21-22 2. STRAGIER A. Is optimal bicarbonate dialysis feasible ? Nephrol News & Issues Europe 2, 3 : 5-7, 1994 3. STRAGIER A. Is optimal bicarbonate dialysis feasible. Abstract Proceedings EDTNA-ERCA Glasgow proc p 9, 1993; 4. STRAGIER A. WENDERICKX D. Four Years concentrate distribution experience: focussing on bacterial growth. Abstr. EDTNA/ERCA Journal XXIII-1 Supplement, 24, 1997. 5. STRAGIER A. WENDERICKX D. Bacterial growth prevention in Liquid Bicarbonate Concentrate EDTNA/ERCA Journal XXIV, n°3: 40-42, 1998. Bacterial growth prevention in liquid bicarbonate concentrate - PubMed (nih.gov) |  | 6
Dialysis Installation | 10 | Reuse of spent dialysate as fertilizer and for irrigation. | Spent dialysate can be a source of fertilizer material and 'grey' Water for which treatment of the raw Wastestream will be required depending on second use. No system yet in place at UMCU. Elements of the treatment can be medicine removal, active carbon treament, ozone treatment, biological treatment. Testing requirements for treatment installation to be defined jointly with WUR. | CT KRT HD | HD | In centre | ESKF | Waste |  | Unit E | 45387 | DOI: 10.1053/j.ajkd.2008.03.022 DOI: 10.1053/j.ajkd.2008.04.005 https://doi.org/10.1016/j.resconrec.2020.105341 https://doi.org/10.1093/ndt/gfy104.SP674 https://extension.usu.edu/yardandgarden/research/urea-a-low-cost-nitrogen-fertilizer-with-special-management-requirements |  | 7
Dialysis Installation | 11 | Removal of residues from spent dialysate (goal zero discharge of pharmaceuticals from dialysis dept) | Search for effective elimination techniques for Wasteof pharmaceuticals. | CT KRT HD | HD | In centre | ESKF | Waste |  | Unit E | 4-5 |  |  | 8
Dialysis Installation | 12 | Reuse of dialysers. | With the cleaning device of Novaflux (USA) a dialyser can be reused at least 40 times. Laboratory testing in the Netherlands will be undertaken in combination with the estabilishment of the needs for certification in Euriope (CE). Followed by piloting. Note: could adjacent disposable tubes be cleaned simultaneously? | CT KRT HD | HD | Home dialysis | ESKF | Waste |  | HD machine | 9 | https://novaflux.com |  | 9
Dialysis Installation | 49 | Bio based on site WasteWater treatment | Bio-purification plants use microorganisms and aquatic plants to naturally purify wastewater, requiring minimal maintenance and no chemical additives. |  |  |  |  | Waste |  | Unit E Unit F | 9 |  | Alnarp Clean Water | 10
Dialysis Installation | 50 | Air and water treatment with Ozone | Ozone oxidation technology is a time/cost-saving method of treating air and water. It also avoids the use of chemicals, leaving no harmful byproducts. |  |  |  |  | Waste |  | Unit E Unit F | 9 |  | Mellifiq | 11
Dialysis Installation | 51 | On-site system for Infectious Waste Decontamination and Wastewater Purification | Intelligent shredders process hospital waste, transporting it to an on-site plant for decontamination. |  |  |  |  | Waste |  | Unit F | 9 |  | Pharmafilter | 12
Dialysis Installation | 56 | Use of robots in dialysis | Robotics support the automation of hospital handling of goods and provide centralized sterilization systems for distributing sterile instruments. |  |  |  |  | Energy |  | Loops B Loops A |  |  | Gibotech | 13
Dialysis Installation | 65 | Biotechnologies for waste/wastewater treatment | Biological odor control in the waste area avoids using chemicals, ozone or costly refrigeration. Biotechnologies are also used in wastewater treatment plants. |  |  |  |  | Waste |  | Unit F |  |  | Bioteria | 14
Dialysis Installation | 66 | Pre-heating of process Water | High-efficiency dialysis systems use renewable energy for water heating, with digital data acquisition for monitoring and optimization. |  |  |  |  | Energy |  | Unit A | 9 |  | GreenTec, Germany | 15
Dialysis Installation | 67 | Centralised monitoring of water/energy use | Performance Systems allow digital monitoring of water and energy production and consumption, suggesting strategies to minimise resource waste. |  |  |  |  | Water | Energy | Unit A | 9 |  | GreenTec, Germany | 16
Dialysis Installation | 71 | Dry acid concentrate powder | Central acid delivery using dry powder concentrate |  |  |  |  | Waste |  | Unit B Unit C | 9 | DOI: 10.69097/41-03-2024-010 https://catalogs.bbraun.com/en-01/p/PRID00010206/ecomix-revolution-automated-mixing-device-for-acid-concentrates?bomUsage=documents | Fresenius (Granumix) Bbraun (Ecomix) | 17
Home & Microclinic Care | 5 | Portable hemodialysais device based on dialysate regeneration. | Technology (Neokidney device of Nextkidney) is being tested allowing for small device in home care situation. | CT KRT HD | HD | In centre, satelite and home dialysis | ESKF | Water | Transport | Home | 6 | https://doi.org/10.1038/s41581-023-00726-9 www.nextkidney.com |  | 18
Home & Microclinic Care | 6 | Portable peritoneal dialysis device based on continuous flow PD with dialysate regeneration. | WEAKID (CORDIAL programme) and AWAK-PD are at the phase of clinical validation | CT KRT HD | PD | Home dialysis | ESKF | Water | Waste | Home | 45418 | www.projectcordial.eu, awak.com |  | 19
Home & Microclinic Care | 13 | Online production of hemodialysate at home (from tap Water + portable RO unit) | Consists of a backflow-preventing device; two coarse filters to remove particulate matter (30-micron followed by 5-micron sediment filter), softener (optional in NL), booster pump (depending on the specs of the mobile RO and the Water pressure of the urban Water supply), portable RO unit, domestic distribution ring, one or two extra filters (depending on the specs of the dialysis machine). Regular monitoring of Water quality required. | CT KRT HD | HD | Satelite and home dialysis | ESKF | Waste | Transport | Home | 9 | https://pubmed.ncbi.nlm.nih.gov/29845936/ | Dianet, NL | 20
Home & Microclinic Care | 14 | Online production of peritoneal dialysate at home (from tap Water + portable RO unit) | See 13 online production of hemodialysate at home. Concentrate of electrolytes and glucose required | CT KRT PD | PD | In centre and home dialysis | ESKF | Waste | Transport | Home | 6 | https://www.baxter.com/baxter-newsroom/baxter-starts-us-clinical-trial-demand-peritoneal-dialysis-solution-system https://doi.org/10.1016/j.ekir.2024.03.010 | Baxter US? | 21
Home & Microclinic Care | 15 | Online production of peritoneal dialysate at home using distillation | A solar-powered toolkit could be included for remote areas. | CT KRT PD | PD | In centre and home dialysis | ESKF | Water | Waste, Energy, Transport | Home | 6 | www.ellenmedical.com https://doi.org/10.1177/08968608231209850 |  | 22
Home & Microclinic Care | 16 | Blood withdrawal at patients’ home/transfer of blood via mail | Special mail packing such as used for population screening. | CT KRT HD | HD | Home dialysis | ESKF | Transport |  | Home | 9 |  | Dianet, NL | 23
Home & Microclinic Care | 17 | Laboratory determination at home (and direct streaming with electronic patient dossier) | Remote monitoring of treatment results by direct streaming with electronic patient dossier. | CKD treatment |  | Policlinic | EKSF/ CKD/ NTX | Transport |  | Home | 45419 | https://networks.sustainablehealthcare.org.uk/resources/pilot-study-kidney-patient-results-monitoring-service |  | 24
Home & Microclinic Care | 18 | Blood pressure determination at home. Results shared with electronic patient dossier | Setting up communication with patients in combination with enhanced self monitoring reducing travel of patients. | CKD treatment |  | Policlinic | CKD/ NTX | Transport |  | Home | 9 | https://networks.sustainablehealthcare.org.uk/resources/remote-ckd-monitoring-part-disease-management-program |  | 25
Home & Microclinic Care | 19 | (Un-assisted) home instead of in-center dialysis | (Un-assisted) home dialysis has lower environmental burden. | CT KRT HD | HD | Home dialysis | ESKF | Transport |  | Home | 9 | https://doi.org/10.1111/j.1755-6686.2007.tb00056.x |  | 26
Home & Microclinic Care | 20 | Microclinic instead of in-center HD. | The use of microclinics may reduce the overall HD related Transport. | CT KRT HD | HD | In centre, satelite and home dialysis | ESKF | Transport |  | Microclinic | 9 |  |  | 27
Home & Microclinic Care | 21 | Solar-assisted hemodialysis. | Use of renewable (solar) energy, especially for remote microclinics, reducing both travel and energy consumption. | CT KRT HD | HD | In centre, satelite and home dialysis | ESKF | Energy |  | Microclinic | 7-9 | https://doi.org/10.2215/CJN.09810911 |  | 28
Operational Practices | 23 | Non toxic replacement of formalin for structural and molecular preservation in tissue samples | Suitable for kidney biopsies. |  |  |  |  | Waste |  | OPER CARE | 9 | https://doi.org/10.1371/journal.pone.0182965 | Addax Bio | 29
Operational Practices | 26 | Healthcare uniform with anti-bacterial, sustainable and comfortable clothing. | Antiviral fabrics have organic antimicrobial capability and are made from sustainable and biodegradable natural fibers. |  |  |  |  | Waste |  | OPER CARE | 9 | https://www.healthtextiles.com/case/hospital-trial-of-healthcare-uniforms/ | Health Textiles | 30
Operational Practices | 30 | Patient privacy long-lasting screens | Compared to standard curtains and solutions, screens are easier to customise, clean and have a longer lifespan. |  |  |  |  | Waste |  | OPER CARE | 9 |  | Silentia | 31
Operational Practices | 34 | Fabric material for patient care | Cassette-based systems offer time-saving handling, low material consumption and low transportation costs compared to the traditional waste bag. |  |  |  |  | Waste |  | OPER CARE | 9 |  | Mölnicke | 32
Operational Practices | 39 | Waste bag system | Cassette-based systems offer time-saving handling, low material consumption and low transportation costs compared to the traditional waste bag. |  |  |  |  | Waste |  | OPER CARE | 9 |  | Paxxo | 34
Operational Practices | 40 | Biodegradable polymer for single used items | Alternative fully biodegradable polymers can be used for disposable items such as shoe and hair covers, aprons, bed sheets, and carrier bags. |  |  |  |  | Waste |  | OPER CARE | 9 |  | Gaia BioMaterials | 35
Operational Practices | 41 | Alternative bio-based hazardous waste bins | Hazardous waste containers made of renewable raw materials, as wood, can drastically reduce CO2 emissions. |  |  |  |  | Waste |  | OPER CARE | 9 |  | FrostPharma, Woodsafe | 36
Operational Practices | 43 | Non-alcoholic hand sanitizer | Alternative alcohol-free cleaning and disinfection solutions minimize the use of plastics and chemicals. |  |  |  |  | Waste |  | OPER CARE | 9 |  | Hygene of Sweden | 37
Operational Practices | 44 | Anti-waste glove dispenser | Alternative dispensers are designed to dispense one glove at a time. This reduces the risk of gloves falling out of the box and being wasted. |  |  |  |  | Waste |  | OPER CARE | 9 |  | Dmedical | 38
Operational Practices | 55 | Autoclaves with efficient use of energy and water consumption | [5 empty] | Energy | Water | OPER OTHER |  |  | Getinge | 39
Operational Practices | 68 | Digital solutions for external patient and material transport | [5 empty] | Transport |  | OPER OTHER | 9 |  | e.g. QRaGo | 40
Operational Practices | 72 | On-site infectious waste treatment | This waste management equipment is designed to shred and decontaminate infectious waste, allowing it to be handled as urban waste. |  |  |  |  | Waste |  | OPER OTHER | 9 | https://www.steridas.com/ https://www.tesalys.fr/en/steriplus/ | Steridas Tesalys | 41
Operational Practices | 73 | Regional anticoagulation with citrate | Avoiding systemic anticoagulation with (low molecular weight) heparin. |  |  |  |  | Waste |  | OPER CARE | 6 | ASN Kidney week 2019, Abstract SA-PO1027 https://www.asn-online.org/education/kidneyweek/2019/program-abstract.aspx?controlId=3237191#:~:text=Abstract%20details%20for%20Kidney%20Week%202019.%20ASN's%20Mission%20To |  | 42
Building Related | 22 | Low climate impact coolant (propane) | Refrigerant agents are impactful greenhouse gases, cooling units and heat pumps using natural refrigerant propane drastically lower emissions. |  | HD | In centre | ALL | Waste |  | BLD HVAC | 9 |  | Enrad | 43
Building Related | 24 | High-efficiency healthcare ventilation systems | Innovative air ventilation system achieves ultra-clean conditions using 30% less energy than standard laminar airflow systems. |  |  |  |  | Energy |  | BLD HVAC | 9 | https://doi.org/10.1016/0195-6701(82)90004-4 | Avidicare | 44
Building Related | 25 | Sustainable ergonomic work lighting | Efficient lighting solutions with long lifespans and recyclable materials can also increase patient and staff well-being, as well as health outcomes. |  |  |  |  | Energy |  | BLD HVAC | 9 | https://chromaviso.com/en/excellence-hub/research-and-evidence-lighting-solutions | Chromavisio | 45
Building Related | 27 | Life cycle of the entire HVACR equipment | Monitoring of HVACR systems to identify hidden losses, plan predictive maintenance and optimize consumption, leading to 10-30% energy-saving. |  |  |  |  | Energy | Waste | BLD HVAC | 9 | https://home.climacheck.com/about-us/publications/ | Climacheck | 46
Building Related | 28 | Sustainable flooring for healthcare facilities | Renovation methods use reinforced and water-based floor lacquers, allowing to renovate flooring without dismantling the existing ones. |  |  |  |  | Waste |  | BLD INT FIN | 9 |  | Hallbar Teknik | 47
Building Related | 29 | Ventilation system with low energy consumption | Specialized equipment for hospital wards can control ventilation, cooling, heating and lighting via active supply air diffusers, reducing energy use. |  |  |  |  | Energy |  | BLD HVAC | 9 | https://www.lindinvent.com/solutions/healthcare/examination-room/ | Lindinvent | 48
Building Related | 31 | Sustainable furniture for public spaces. | Healthcare interior design with sustainable and natural materials increases well-being among patients and caregivers, reducing hospital footprint. |  |  |  |  | Waste |  | BLD INT FIN | 9 |  | Green furniture | 49
Building Related | 32 | Flooring | Like number 28 vendor of sustainable floor finishing |  |  |  |  | Waste |  | BLD INT FIN | 9 |  | Gerflor | 50
Building Related | 33 | Sustainable wash basins | Environmentally certified washbasins use pore-free and non-toxic materials that are easy to clean, maintain and renew. |  |  |  |  | Waste |  | BLD INT FIN | 9 |  | Noas Sweden | 51
Building Related | 35 | Sharing marketplace for furniture and resources | Sharing marketplaces allows to share medical and non-medical equipment. Both internal and cross-organisation marketplaces are available. |  |  |  |  | Waste |  | BLD INT FIN | 9 |  | Floow2 | 52
Building Related | 36 | CO2 cleaning for chillers | The cleaning of ventilation and refrigeration systems increases the efficiency and safety of existing systems, extending their lifetime. |  |  |  |  | Waste |  | BLD HVAC | 9 |  | Oconordic | 53
Building Related | 37 | Cloud-based modular signage systems | Hospitals need easy-to-follow signage. Modular signage systems use recycled materials and cloud-based services facilitate updating of signage. |  |  |  |  | Other |  | BLD INT FIN | 9 |  | Accuss | 54
Building Related | 42 | Low temperature district heating and cooling | If and where available in the vicinity of the HD facility. |  |  |  |  | Energy |  | BLD HVAC | 9 |  | Ectogrid | 55
Building Related | 45 | Building automation and monitoring, reducing energy consumption | [5 empty] | Energy |  | BLD HVAC | 9 |  | Schneider Electric | 56
Building Related | 46 | Nitrous Oxide destruction | Destructors eliminate the leakage of nitrous oxide within the hospital department, avoiding wastage and reducing costs. |  |  |  |  | Waste |  | BLD HVAC | 9 |  | Medicvent | 57
Building Related | 48 | Sustainable acoustic panels | Sustainable acoustic ceilings and wall absorbers increase indoor comfort by using renewable materials. | [6 empty] | BLD INT FIN | 9 |  | Ecophon | 59
Building Related | 52 | Flooring | [5 empty] | Waste |  | BLD INT FIN | 9 |  | Bona | 60
Building Related | 53 | Flooring | [5 empty] | Waste |  | BLD INT FIN | 9 |  | Tarket | 61
Building Related | 54 | Ventilation | [7 empty] | BLD HVAC |  |  | NV | 62
Building Related | 57 | Vendor for ventilation in medical environment | [5 empty] | Energy |  | BLD HVAC |  |  | OR Ventilation | 63
Building Related | 58 | Mobile separation screens | [7 empty] | BLD INT FIN |  |  | Silentia | 64
Building Related | 60 | Shower with recirculating water | Smart showers recirculating water within the system and controlling the flow and temperature to minimise waste. |  |  |  |  | Water |  | BLD HVAC | 6 |  | Orbital systems | 65
Building Related | 61 | Energyefficient lighting systems | [5 empty] | Energy |  | BLD HVAC |  |  | Several | 66
Building Related | 62 | Renewable Energysystems | [5 empty] | Energy |  | BLD OTHER |  |  | Several | 67
Building Related | 63 | Waste collection system | [5 empty] | Waste |  | BLD OTHER | 9 |  | Envac | 68
Building Related | 64 | Standardised system for insulated ventilation duct systems | [5 empty] | Energy |  | BLD HVAC |  |  | Climate recovery | 69
Building Related | 69 | Carbon-storing construction materials | [5 empty] | Other |  | BLD INT FIN | 9 | https://paebbl.com/ | Paebbl | 70
Building Related | 70 | Smart building solutions to optimize settings; motion sensors | [5 empty] | Energy |  | BLD INT FIN | 9 |  |  | 71

## Dialysis Installation
CATEGORY | NO. | INNOVATION | DESCRIPTION OF INNOVATION | KITNEWCARE PATHWAY | HD/PD | SETTING | PATIENT GROUP | PRIMARY IMPACT | SECONDARY IMPACT | SYSTEM | TRL | REFERENCE | INSTITUTE/VENDOR | ORIGINAL MATRIX POSITION
Dialysis Installation | 1 | Adjusting dialysis fluid flow to blood flow | This is a feature of Fresenius 5008 and 6008 series HD machines and it is expected that this feature will be implemented in the next generation of HD machine. It will enable optimisation of dialysate consumption | CT KRT HD | HD | In centre and home dialysis | ESKF | Water |  | HD machine | 9 | Abstract https://doi.org/10.1093/ndt/gfy104.SP491 |  | 0
Dialysis Installation | 2 | RO Water reclaim | Re-injection of RO reject Water and surplus permeate in the feed Water | CT KRT HD | HD | In centre and home dialysis | ESKF | Water |  | Unit F | 9 | https://networks.sustainablehealthcare.org.uk/resources/conserving-Water-haemodialysis |  | 1
Dialysis Installation | 3 | Upgrade of Water treatment system | Next generation RO plant fully automated and with far less reject Water | CT KRT HD | HD | In centre | ESKF | Water |  | Unit A | 9 | https://networks.sustainablehealthcare.org.uk/resources/upgrade-Water-treatment-systems-dialysis-unit |  | 2
Dialysis Installation | 4 | Reuse of RO reject Water | Store eccess RO Water for use in other 'grey Water' systems. Unit F defined to deal with storage and pre treatment (if so required) of RO reject Water prior to second use (recycling). | CT KRT HD | HD | In centre, satelite and home dialysis | ESKF | Water |  | Unit F | 7-9 | DOI: 10.1111/j.1542-4758.2009.00332.x |  | 3
Dialysis Installation | 7 | Use of forward osmosis membranes (Aquaporin) to a) produce dialysate from tap Water, and b) regenerate dialysate (within session) | Testing required to validate aquaporin's technology for this medical application | CT KRT HD | HD | In centre | ESKF | Water | Energy | Unit A Unit E | 4-5 | https://www.filtsep.com/content/news/aquaporin-membranes-cut-hemodialysis-Water-costs https://doi.org/10.1016/j.desal.2020.114605 https://doi.org/10.1016/j.watres.2019.115157 |  | 4
Dialysis Installation | 8 | Central acid delivery | Central unit providing acid concentrate to HD machines instead of 1 canister per session | CT KRT HD | HD | In centre | ESKF | Waste |  | Unit B Unit C | 9 | https://networks.sustainablehealthcare.org.uk/resources/central-delivery-acid-haemodialysis https://doi.org/10.1007/s40620-024-02073-9 |  | 5
Dialysis Installation | 9 | Central bicarbonate delivery | In between 1990 and 2000 a central bicarbonate solution system has been used in the St. Luc hosptial in Brussels. Meanwhile single us bicarbonate cartridges connected to HD machine have become the environmentally less friendly common practice. Based on Mr. Stragiers publications a central (automated) bicarbonate solution dosing and distribution system has to be reconfirmed thruogh testing; followed by piloting. | CT KRT HD | IC HD | In centre | ESKF | Waste |  | Unit D | 4-6 | 1. STRAGIER Andre, SYNAVE B. - Bicarbonate concentrate : no longer contaminated. EDTNA-ERCA Journal 11, 1989, 21-22 2. STRAGIER A. Is optimal bicarbonate dialysis feasible ? Nephrol News & Issues Europe 2, 3 : 5-7, 1994 3. STRAGIER A. Is optimal bicarbonate dialysis feasible. Abstract Proceedings EDTNA-ERCA Glasgow proc p 9, 1993; 4. STRAGIER A. WENDERICKX D. Four Years concentrate distribution experience: focussing on bacterial growth. Abstr. EDTNA/ERCA Journal XXIII-1 Supplement, 24, 1997. 5. STRAGIER A. WENDERICKX D. Bacterial growth prevention in Liquid Bicarbonate Concentrate EDTNA/ERCA Journal XXIV, n°3: 40-42, 1998. Bacterial growth prevention in liquid bicarbonate concentrate - PubMed (nih.gov) |  | 6
Dialysis Installation | 10 | Reuse of spent dialysate as fertilizer and for irrigation. | Spent dialysate can be a source of fertilizer material and 'grey' Water for which treatment of the raw Wastestream will be required depending on second use. No system yet in place at UMCU. Elements of the treatment can be medicine removal, active carbon treament, ozone treatment, biological treatment. Testing requirements for treatment installation to be defined jointly with WUR. | CT KRT HD | HD | In centre | ESKF | Waste |  | Unit E | 45387 | DOI: 10.1053/j.ajkd.2008.03.022 DOI: 10.1053/j.ajkd.2008.04.005 https://doi.org/10.1016/j.resconrec.2020.105341 https://doi.org/10.1093/ndt/gfy104.SP674 https://extension.usu.edu/yardandgarden/research/urea-a-low-cost-nitrogen-fertilizer-with-special-management-requirements |  | 7
Dialysis Installation | 11 | Removal of residues from spent dialysate (goal zero discharge of pharmaceuticals from dialysis dept) | Search for effective elimination techniques for Wasteof pharmaceuticals. | CT KRT HD | HD | In centre | ESKF | Waste |  | Unit E | 4-5 |  |  | 8
Dialysis Installation | 12 | Reuse of dialysers. | With the cleaning device of Novaflux (USA) a dialyser can be reused at least 40 times. Laboratory testing in the Netherlands will be undertaken in combination with the estabilishment of the needs for certification in Euriope (CE). Followed by piloting. Note: could adjacent disposable tubes be cleaned simultaneously? | CT KRT HD | HD | Home dialysis | ESKF | Waste |  | HD machine | 9 | https://novaflux.com |  | 9
Dialysis Installation | 49 | Bio based on site WasteWater treatment | Bio-purification plants use microorganisms and aquatic plants to naturally purify wastewater, requiring minimal maintenance and no chemical additives. |  |  |  |  | Waste |  | Unit E Unit F | 9 |  | Alnarp Clean Water | 10
Dialysis Installation | 50 | Air and water treatment with Ozone | Ozone oxidation technology is a time/cost-saving method of treating air and water. It also avoids the use of chemicals, leaving no harmful byproducts. |  |  |  |  | Waste |  | Unit E Unit F | 9 |  | Mellifiq | 11
Dialysis Installation | 51 | On-site system for Infectious Waste Decontamination and Wastewater Purification | Intelligent shredders process hospital waste, transporting it to an on-site plant for decontamination. |  |  |  |  | Waste |  | Unit F | 9 |  | Pharmafilter | 12
Dialysis Installation | 56 | Use of robots in dialysis | Robotics support the automation of hospital handling of goods and provide centralized sterilization systems for distributing sterile instruments. |  |  |  |  | Energy |  | Loops B Loops A |  |  | Gibotech | 13
Dialysis Installation | 65 | Biotechnologies for waste/wastewater treatment | Biological odor control in the waste area avoids using chemicals, ozone or costly refrigeration. Biotechnologies are also used in wastewater treatment plants. |  |  |  |  | Waste |  | Unit F |  |  | Bioteria | 14
Dialysis Installation | 66 | Pre-heating of process Water | High-efficiency dialysis systems use renewable energy for water heating, with digital data acquisition for monitoring and optimization. |  |  |  |  | Energy |  | Unit A | 9 |  | GreenTec, Germany | 15
Dialysis Installation | 67 | Centralised monitoring of water/energy use | Performance Systems allow digital monitoring of water and energy production and consumption, suggesting strategies to minimise resource waste. |  |  |  |  | Water | Energy | Unit A | 9 |  | GreenTec, Germany | 16
Dialysis Installation | 71 | Dry acid concentrate powder | Central acid delivery using dry powder concentrate |  |  |  |  | Waste |  | Unit B Unit C | 9 | DOI: 10.69097/41-03-2024-010 https://catalogs.bbraun.com/en-01/p/PRID00010206/ecomix-revolution-automated-mixing-device-for-acid-concentrates?bomUsage=documents | Fresenius (Granumix) Bbraun (Ecomix) | 17

## Home & Microclinic Care
CATEGORY | NO. | INNOVATION | DESCRIPTION OF INNOVATION | KITNEWCARE PATHWAY | HD/PD | SETTING | PATIENT GROUP | PRIMARY IMPACT | SECONDARY IMPACT | SYSTEM | TRL | REFERENCE | INSTITUTE/VENDOR | ORIGINAL MATRIX POSITION
Home & Microclinic Care | 5 | Portable hemodialysais device based on dialysate regeneration. | Technology (Neokidney device of Nextkidney) is being tested allowing for small device in home care situation. | CT KRT HD | HD | In centre, satelite and home dialysis | ESKF | Water | Transport | Home | 6 | https://doi.org/10.1038/s41581-023-00726-9 www.nextkidney.com |  | 18
Home & Microclinic Care | 6 | Portable peritoneal dialysis device based on continuous flow PD with dialysate regeneration. | WEAKID (CORDIAL programme) and AWAK-PD are at the phase of clinical validation | CT KRT HD | PD | Home dialysis | ESKF | Water | Waste | Home | 45418 | www.projectcordial.eu, awak.com |  | 19
Home & Microclinic Care | 13 | Online production of hemodialysate at home (from tap Water + portable RO unit) | Consists of a backflow-preventing device; two coarse filters to remove particulate matter (30-micron followed by 5-micron sediment filter), softener (optional in NL), booster pump (depending on the specs of the mobile RO and the Water pressure of the urban Water supply), portable RO unit, domestic distribution ring, one or two extra filters (depending on the specs of the dialysis machine). Regular monitoring of Water quality required. | CT KRT HD | HD | Satelite and home dialysis | ESKF | Waste | Transport | Home | 9 | https://pubmed.ncbi.nlm.nih.gov/29845936/ | Dianet, NL | 20
Home & Microclinic Care | 14 | Online production of peritoneal dialysate at home (from tap Water + portable RO unit) | See 13 online production of hemodialysate at home. Concentrate of electrolytes and glucose required | CT KRT PD | PD | In centre and home dialysis | ESKF | Waste | Transport | Home | 6 | https://www.baxter.com/baxter-newsroom/baxter-starts-us-clinical-trial-demand-peritoneal-dialysis-solution-system https://doi.org/10.1016/j.ekir.2024.03.010 | Baxter US? | 21
Home & Microclinic Care | 15 | Online production of peritoneal dialysate at home using distillation | A solar-powered toolkit could be included for remote areas. | CT KRT PD | PD | In centre and home dialysis | ESKF | Water | Waste, Energy, Transport | Home | 6 | www.ellenmedical.com https://doi.org/10.1177/08968608231209850 |  | 22
Home & Microclinic Care | 16 | Blood withdrawal at patients’ home/transfer of blood via mail | Special mail packing such as used for population screening. | CT KRT HD | HD | Home dialysis | ESKF | Transport |  | Home | 9 |  | Dianet, NL | 23
Home & Microclinic Care | 17 | Laboratory determination at home (and direct streaming with electronic patient dossier) | Remote monitoring of treatment results by direct streaming with electronic patient dossier. | CKD treatment |  | Policlinic | EKSF/ CKD/ NTX | Transport |  | Home | 45419 | https://networks.sustainablehealthcare.org.uk/resources/pilot-study-kidney-patient-results-monitoring-service |  | 24
Home & Microclinic Care | 18 | Blood pressure determination at home. Results shared with electronic patient dossier | Setting up communication with patients in combination with enhanced self monitoring reducing travel of patients. | CKD treatment |  | Policlinic | CKD/ NTX | Transport |  | Home | 9 | https://networks.sustainablehealthcare.org.uk/resources/remote-ckd-monitoring-part-disease-management-program |  | 25
Home & Microclinic Care | 19 | (Un-assisted) home instead of in-center dialysis | (Un-assisted) home dialysis has lower environmental burden. | CT KRT HD | HD | Home dialysis | ESKF | Transport |  | Home | 9 | https://doi.org/10.1111/j.1755-6686.2007.tb00056.x |  | 26
Home & Microclinic Care | 20 | Microclinic instead of in-center HD. | The use of microclinics may reduce the overall HD related Transport. | CT KRT HD | HD | In centre, satelite and home dialysis | ESKF | Transport |  | Microclinic | 9 |  |  | 27
Home & Microclinic Care | 21 | Solar-assisted hemodialysis. | Use of renewable (solar) energy, especially for remote microclinics, reducing both travel and energy consumption. | CT KRT HD | HD | In centre, satelite and home dialysis | ESKF | Energy |  | Microclinic | 7-9 | https://doi.org/10.2215/CJN.09810911 |  | 28

## Operational Practices
CATEGORY | NO. | INNOVATION | DESCRIPTION OF INNOVATION | KITNEWCARE PATHWAY | HD/PD | SETTING | PATIENT GROUP | PRIMARY IMPACT | SECONDARY IMPACT | SYSTEM | TRL | REFERENCE | INSTITUTE/VENDOR | ORIGINAL MATRIX POSITION
Operational Practices | 23 | Non toxic replacement of formalin for structural and molecular preservation in tissue samples | Suitable for kidney biopsies. |  |  |  |  | Waste |  | OPER CARE | 9 | https://doi.org/10.1371/journal.pone.0182965 | Addax Bio | 29
Operational Practices | 26 | Healthcare uniform with anti-bacterial, sustainable and comfortable clothing. | Antiviral fabrics have organic antimicrobial capability and are made from sustainable and biodegradable natural fibers. |  |  |  |  | Waste |  | OPER CARE | 9 | https://www.healthtextiles.com/case/hospital-trial-of-healthcare-uniforms/ | Health Textiles | 30
Operational Practices | 30 | Patient privacy long-lasting screens | Compared to standard curtains and solutions, screens are easier to customise, clean and have a longer lifespan. |  |  |  |  | Waste |  | OPER CARE | 9 |  | Silentia | 31
Operational Practices | 34 | Fabric material for patient care | Cassette-based systems offer time-saving handling, low material consumption and low transportation costs compared to the traditional waste bag. |  |  |  |  | Waste |  | OPER CARE | 9 |  | Mölnicke | 32
Operational Practices | 39 | Waste bag system | Cassette-based systems offer time-saving handling, low material consumption and low transportation costs compared to the traditional waste bag. |  |  |  |  | Waste |  | OPER CARE | 9 |  | Paxxo | 34
Operational Practices | 40 | Biodegradable polymer for single used items | Alternative fully biodegradable polymers can be used for disposable items such as shoe and hair covers, aprons, bed sheets, and carrier bags. |  |  |  |  | Waste |  | OPER CARE | 9 |  | Gaia BioMaterials | 35
Operational Practices | 41 | Alternative bio-based hazardous waste bins | Hazardous waste containers made of renewable raw materials, as wood, can drastically reduce CO2 emissions. |  |  |  |  | Waste |  | OPER CARE | 9 |  | FrostPharma, Woodsafe | 36
Operational Practices | 43 | Non-alcoholic hand sanitizer | Alternative alcohol-free cleaning and disinfection solutions minimize the use of plastics and chemicals. |  |  |  |  | Waste |  | OPER CARE | 9 |  | Hygene of Sweden | 37
Operational Practices | 44 | Anti-waste glove dispenser | Alternative dispensers are designed to dispense one glove at a time. This reduces the risk of gloves falling out of the box and being wasted. |  |  |  |  | Waste |  | OPER CARE | 9 |  | Dmedical | 38
Operational Practices | 55 | Autoclaves with efficient use of energy and water consumption | [5 empty] | Energy | Water | OPER OTHER |  |  | Getinge | 39
Operational Practices | 68 | Digital solutions for external patient and material transport | [5 empty] | Transport |  | OPER OTHER | 9 |  | e.g. QRaGo | 40
Operational Practices | 72 | On-site infectious waste treatment | This waste management equipment is designed to shred and decontaminate infectious waste, allowing it to be handled as urban waste. |  |  |  |  | Waste |  | OPER OTHER | 9 | https://www.steridas.com/ https://www.tesalys.fr/en/steriplus/ | Steridas Tesalys | 41
Operational Practices | 73 | Regional anticoagulation with citrate | Avoiding systemic anticoagulation with (low molecular weight) heparin. |  |  |  |  | Waste |  | OPER CARE | 6 | ASN Kidney week 2019, Abstract SA-PO1027 https://www.asn-online.org/education/kidneyweek/2019/program-abstract.aspx?controlId=3237191#:~:text=Abstract%20details%20for%20Kidney%20Week%202019.%20ASN's%20Mission%20To |  | 42

## Building Related
CATEGORY | NO. | INNOVATION | DESCRIPTION OF INNOVATION | KITNEWCARE PATHWAY | HD/PD | SETTING | PATIENT GROUP | PRIMARY IMPACT | SECONDARY IMPACT | SYSTEM | TRL | REFERENCE | INSTITUTE/VENDOR | ORIGINAL MATRIX POSITION
Building Related | 22 | Low climate impact coolant (propane) | Refrigerant agents are impactful greenhouse gases, cooling units and heat pumps using natural refrigerant propane drastically lower emissions. |  | HD | In centre | ALL | Waste |  | BLD HVAC | 9 |  | Enrad | 43
Building Related | 24 | High-efficiency healthcare ventilation systems | Innovative air ventilation system achieves ultra-clean conditions using 30% less energy than standard laminar airflow systems. |  |  |  |  | Energy |  | BLD HVAC | 9 | https://doi.org/10.1016/0195-6701(82)90004-4 | Avidicare | 44
Building Related | 25 | Sustainable ergonomic work lighting | Efficient lighting solutions with long lifespans and recyclable materials can also increase patient and staff well-being, as well as health outcomes. |  |  |  |  | Energy |  | BLD HVAC | 9 | https://chromaviso.com/en/excellence-hub/research-and-evidence-lighting-solutions | Chromavisio | 45
Building Related | 27 | Life cycle of the entire HVACR equipment | Monitoring of HVACR systems to identify hidden losses, plan predictive maintenance and optimize consumption, leading to 10-30% energy-saving. |  |  |  |  | Energy | Waste | BLD HVAC | 9 | https://home.climacheck.com/about-us/publications/ | Climacheck | 46
Building Related | 28 | Sustainable flooring for healthcare facilities | Renovation methods use reinforced and water-based floor lacquers, allowing to renovate flooring without dismantling the existing ones. |  |  |  |  | Waste |  | BLD INT FIN | 9 |  | Hallbar Teknik | 47
Building Related | 29 | Ventilation system with low energy consumption | Specialized equipment for hospital wards can control ventilation, cooling, heating and lighting via active supply air diffusers, reducing energy use. |  |  |  |  | Energy |  | BLD HVAC | 9 | https://www.lindinvent.com/solutions/healthcare/examination-room/ | Lindinvent | 48
Building Related | 31 | Sustainable furniture for public spaces. | Healthcare interior design with sustainable and natural materials increases well-being among patients and caregivers, reducing hospital footprint. |  |  |  |  | Waste |  | BLD INT FIN | 9 |  | Green furniture | 49
Building Related | 32 | Flooring | Like number 28 vendor of sustainable floor finishing |  |  |  |  | Waste |  | BLD INT FIN | 9 |  | Gerflor | 50
Building Related | 33 | Sustainable wash basins | Environmentally certified washbasins use pore-free and non-toxic materials that are easy to clean, maintain and renew. |  |  |  |  | Waste |  | BLD INT FIN | 9 |  | Noas Sweden | 51
Building Related | 35 | Sharing marketplace for furniture and resources | Sharing marketplaces allows to share medical and non-medical equipment. Both internal and cross-organisation marketplaces are available. |  |  |  |  | Waste |  | BLD INT FIN | 9 |  | Floow2 | 52
Building Related | 36 | CO2 cleaning for chillers | The cleaning of ventilation and refrigeration systems increases the efficiency and safety of existing systems, extending their lifetime. |  |  |  |  | Waste |  | BLD HVAC | 9 |  | Oconordic | 53
Building Related | 37 | Cloud-based modular signage systems | Hospitals need easy-to-follow signage. Modular signage systems use recycled materials and cloud-based services facilitate updating of signage. |  |  |  |  | Other |  | BLD INT FIN | 9 |  | Accuss | 54
Building Related | 42 | Low temperature district heating and cooling | If and where available in the vicinity of the HD facility. |  |  |  |  | Energy |  | BLD HVAC | 9 |  | Ectogrid | 55
Building Related | 45 | Building automation and monitoring, reducing energy consumption | [5 empty] | Energy |  | BLD HVAC | 9 |  | Schneider Electric | 56
Building Related | 46 | Nitrous Oxide destruction | Destructors eliminate the leakage of nitrous oxide within the hospital department, avoiding wastage and reducing costs. |  |  |  |  | Waste |  | BLD HVAC | 9 |  | Medicvent | 57
Building Related | 48 | Sustainable acoustic panels | Sustainable acoustic ceilings and wall absorbers increase indoor comfort by using renewable materials. | [6 empty] | BLD INT FIN | 9 |  | Ecophon | 59
Building Related | 52 | Flooring | [5 empty] | Waste |  | BLD INT FIN | 9 |  | Bona | 60
Building Related | 53 | Flooring | [5 empty] | Waste |  | BLD INT FIN | 9 |  | Tarket | 61
Building Related | 54 | Ventilation | [7 empty] | BLD HVAC |  |  | NV | 62
Building Related | 57 | Vendor for ventilation in medical environment | [5 empty] | Energy |  | BLD HVAC |  |  | OR Ventilation | 63
Building Related | 58 | Mobile separation screens | [7 empty] | BLD INT FIN |  |  | Silentia | 64
Building Related | 60 | Shower with recirculating water | Smart showers recirculating water within the system and controlling the flow and temperature to minimise waste. |  |  |  |  | Water |  | BLD HVAC | 6 |  | Orbital systems | 65
Building Related | 61 | Energyefficient lighting systems | [5 empty] | Energy |  | BLD HVAC |  |  | Several | 66
Building Related | 62 | Renewable Energysystems | [5 empty] | Energy |  | BLD OTHER |  |  | Several | 67
Building Related | 63 | Waste collection system | [5 empty] | Waste |  | BLD OTHER | 9 |  | Envac | 68
Building Related | 64 | Standardised system for insulated ventilation duct systems | [5 empty] | Energy |  | BLD HVAC |  |  | Climate recovery | 69
Building Related | 69 | Carbon-storing construction materials | [5 empty] | Other |  | BLD INT FIN | 9 | https://paebbl.com/ | Paebbl | 70
Building Related | 70 | Smart building solutions to optimize settings; motion sensors | [5 empty] | Energy |  | BLD INT FIN | 9 |  |  | 71